Standard Operating Procedure (SOP)
Title: Lipid Extraction from Tissues Using the Alshehry Method
Version: 1.2
Effective Date: July 16, 2025
Prepared by: Alan Maschek
Reviewed by: Liping Wang
Applicable Instrumentation: LC-MS lipidomics

1. Scope

This SOP describes a protocol for extracting lipids from biological tissue using the single-phase butanol:methanol (1:1, v/v) method developed by Alshehry et al. (2015) and adapted by Muralidharan et al. (2021) for sphingolipid profiling in murine tissues. The protocol supports targeted and untargeted lipidomics workflows and is compatible with high-throughput batch analysis.

2. Safety Considerations

- Perform all steps in a fume hood.

- Wear appropriate PPE: lab coat, gloves, and safety glasses.

- Butanol and methanol are flammable and toxic—consult SDS before use.

- Dispose of organic waste according to institutional regulations.

3. Materials and Reagents

| Item | Details |
| --- | --- |
| Butanol (n-Butanol) | LC-MS grade (e.g. Fisher A383-1) |
| Methanol | LC-MS grade (e.g. Honeywell B&J LC-230-4) |
| Water | LC-MS grade |
| Tissue homogenizer | Bead mill or rotor-stator |
| Internal standards | See Section 5.1 |
| Tubes | Solvent-resistant, glass or polypropylene, 1.5–5 mL |
| Centrifuge | Capable of ≥14,000 × g |
| Vortexer and sonicator | For mixing and solubilizing |
| Nitrogen evaporator/SpeedVac | For drying pellets |
| LC-MS vials | e.g., Agilent 5182-0554 |

4. Sample Requirements

- Recommended starting material: 5–30 mg frozen tissue

- Accurately record wet weight before extraction

- Dry weight may be determined post-extraction for normalization

5. Reagent Preparation

5.1 Extraction Solvent with Internal Standards

Prepare butanol:methanol (1:1, v/v) and spike with the following lipid standards:

| Standard | Avanti PN | pmol/ sample |
| --- | --- | --- |
| C16 Ceramide-d7 (d18:1-d7/16:0) | 860676P-1mg | 367.0 |
| C18 Ceramide-d7 (d18:1-d7/18:0) | 860677P-1mg | 349.0 |
| C24 Ceramide-d7 (d18:1-d7/24:0) | 860678P-1mg | 304.3 |
| C24:1 Ceramide-d7 (d18:1-d7/24:1) | 860679P-1mg | 305.3 |
| C18:1 Dihydroceramide (d18:0/18:1) | 860624P-5mg | 44.2 |
| C8 Dihydroceramide (d18:0/8:0) | 860626 5 mg | 77.9 |
| N-12:0-1-deoxysphinganine | 860481 1mg | 35.6 |
| C17 Glucosylceramide (d18:1/17:0) | 860569P-5mg | 280.1 |
| sphinganine-1-phosphate-d7 | 860694P-1mg | 34.3 |
| sphingosine-1-phosphate-d7 | 860659P-1mg | 34.5 |
| Sphingosine-d7 | 860657P-1mg | 32.6 |
| 16:0-d31 SM | 868584 | 681.0 |
| PC(15:0-18:1(d7)) | 791637C-1mg | 663.9 |
| DG(15:0-18:1(d7)) | 791647C-1mg | 850.4 |
| TG(15:0-18:1(d7)-15:0) | 791648C-1mg | 615.5 |

- Store solvent at −20 °C if not used immediately. Bring to room temperature before use.

-	Suggested standards and amounts shown here, consult the core when needed.

6. Procedure

6.1 Homogenization

- Record the weight of the empty tube.

- Weigh 5–30 mg frozen tissue and record the wet weight.

- Add 1 mL of cold extraction solvent (from Section 5.1).

- Homogenize using a bead mill 15-30 seconds (e.g., Omni Bead Ruptor Elite).

- Vortex for 30 seconds.

  - Optional for BCA protein assay: Transfer 50uL homogenate to a 1.5mL microcentrifuge tube, dry under MiVac for <1 hour (until semi dry without fluid but not complete dry to facilitate resuspension). Resuspend content with PBS back to total volume of 50uL. Sonication maybe necessary to reach full resuspension. For BCA protein assay use 10uL without dilution (based on ~30mg liver).

6.2 Centrifugation and Extraction

- Centrifuge at 14,000 × g for 10 minutes at 4 °C.

- Transfer supernatant to LC-MS vials for analysis.

- Dry the remaining pellet using a SpeedVac.

- Optional for protein measurement: Weigh the dried pellet to obtain dry weight (for normalization).

  - Use dry weight for all tissues unless otherwise noted.

  - For adipose, use partially dried weight if complete drying is not achievable.

7. Pooled Technical Quality Control (QC)

- Prepare QC samples by pooling equal volumes (e.g., 10-50 µL) from each extract.

8. Process Blank (Extraction Blank)

- Prepare one blank per batch using 1 mL of extraction solvent in an empty tube.

- Process identically to samples (vortex, sonicate, centrifuge, dry if applicable).

9. Documentation

- Record:

  - Sample ID, tissue type, wet weight, dry weight (if used)

  - Extraction and homogenization dates

  - Any deviations or sample issues

10. Notes

- Randomize extraction order

- Short term storage 4 - -20 °C, long term storage -20 - -80 °C.

- If particulates are observed or disrupted after centrifugation then re-centrifuge sample

- Adipose tissue may require special attention, consult with the core prior to extraction

11. References

- Alshehry, Z.H., et al. (2015). An efficient single phase method for the extraction of plasma lipids. Metabolites, 5(2): 389–403. https://doi.org/10.3390/metabo5020389

- Muralidharan, S., et al. (2021). A reference map of sphingolipids in murine tissues. Cell Reports, 35(11): 109250. https://doi.org/10.1016/j.celrep.2021.109250